Annex 4 to the tender documentation

Checklist of technical requirements for the Equipment

| Supplier: | [TO BE COMPLETED BY THE SUPPLIER] |
| --- | --- |
| Public contract: | System for conversion of optical frequencies of telecommunication band to radio frequency domain (Frequency Comb System) |

| - Technical requirements for the Equipment |  |  |  |
| --- | --- | --- | --- |
|  |  | YES / NO | Value / Details |
| 1 | Modular rack system |  |  |
| 2 | Including locking electronics |  |  |
| 3 | Repetition rate at least 200 MHz |  |  |
| 4 | Repetition rate tuning range at least 400 kHz |  |  |
| 5 | Frep control bandwidth at least 300 kHz |  |  |
| 6 | Comb linewidth 1 Hz after locking to an appropriate optical reference |  |  |
| 7 | fceo tuning range at least 250 MHz |  |  |
| 8 | fceo modulation bandwidth at least 300 kHz |  |  |
| 9 | Integrated fceo detection |  |  |
| 10 | PM fiber-coupled output with optical connector FC/APC |  |  |
| 11 | Output wavelength range 1520 – 1580 nm |  |  |
| 12 | Possibility to lock frep to RF and optical reference |  |  |
| 13 | fceo lock to RF reference |  |  |
| 14 | Mounting 19" rack max. 14U |  |  |
| 15 | Interface for computer control |  |  |
| 16 | Power supply AC 230V |  |  |

* Please indicate in the empty cells whether the offered Equipment meets the technical requirements and, where applicable, the value according to the Equipment characteristics.