Annex 4 to the tender documentation

Checklist of technical requirements for the Equipment

| Supplier: | [TO BE COMPLETED BY THE SUPPLIER] |
| --- | --- |
| Public contract: | Ultrastable optical cavity for increasing the coherence of intercity photonic link transmission lasers |

| - Technical requirements for the Equipment |  |  |  |
| --- | --- | --- | --- |
|  |  | YES / NO | Value / Details |
| 1 | Complete system consisting of high-finesse Fabry-Perot cavity, temperature-controlled vacuum housing, vacuum pump, laser source, optics, and control electronics |  |  |
| 2 | Output wavelength 1542 nm with PM fibre optical connector FC/APC |  |  |
| 3 | Linewidth 1 Hz |  |  |
| 4 | Allan Deviation at 1 s with no drift removal smaller than 3x10-15 |  |  |
| 5 | Daily laser drift less than 20 kHz |  |  |
| 6 | Daily frequency variation with linear drift removed less than 500 Hz |  |  |
| 7 | Mounting 19" rack max. 14U |  |  |
| 8 | Power supply AC 230V |  |  |

* Please indicate in the empty cells whether the offered Equipment meets the technical requirements and, where applicable, the value according to the Equipment characteristics.